## Sheet1
Question Num | Question | Correct Answer | Answer
1 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: How long is the distal femoral component? | 60mm | Based on the document, the Orthogenesis LPS distal femoral component is 50 mm for the XX-small size and 60 mm for the X-small size
2 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: Is there a press fit or cementless option? | Yes, there is a cementless option mentioned in the DePuy Orthogenesis Limb Preservation System Surgical Techniques reference document. | Yes, the document states that porous-coated femoral stems are available for press-fit (cementless) application
3 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: How do you check rotation? | To check rotation in the DePuy Orthogenesis Limb Preservation System Surgical Techniques, you can use the following method: 1. **Visual Inspection**: Observe the alignment of the limb in relation to the pelvis and the foot. 2. **Clinical Examination**: Assess the position of the patella and the foot to ensure they are aligned correctly. 3. **Radiographic Evaluation**: Use imaging techniques to confirm the rotational alignment of the components. These steps help ensure that the rotation is within the desired parameters for optimal function. | Based on the document, rotation is checked by marking a vertical line on the anterior femoral cortex in line with the femoral trochlear groove before resection, and during trial reduction, using the anti-rotation slot (tab) on the trial components to mark the femur for proper implant alignment
4 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: What is the shortest construct I can use? | The shortest construct that can be used in the DePuy Orthogenesis Limb Preservation System is 70 mm. | The shortest construct for a distal femoral replacement is 70 mm using the XX-small distal femoral component, which includes a 50 mm component length plus a 20 mm collar height
5 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: What degree do I cut the tibia in? | 0 degrees | The document does not specify a tibial cut angle in degrees
6 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: What are the poly sizes? | 12, 14, 16, 18, 20, 22, 24, 26, 28mm | The document states that for the Orthogenesis LPS system, only the extra-small and extra-extra small hinged tibial insert bearing sizes are used to match the distal femoral replacement components
7 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: What is the minimum stem diameter? | The minimum stem diameter in the DePuy Orthogenesis Limb Preservation System is 10 mm for cemented straight stems, 11.5mm for porous straight stems, and 11mm for cemented bowed stems. | The minimum stem diameter is 10 mm for cemented straight stems
8 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: What are the body segment lengths? | The smallest body segment is 25mm and is available in 5mm increments alone or in combination with other segmental components to adjust length. | The body segment lengths for the Orthogenesis LPS distal femoral replacement are 50 mm for the XX-small size and 60 mm for the X-small size
9 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: What is the maximum stem diameter? | The maximum stem diameter in the DePuy Orthogenesis Limb Preservation System is 18.5 mm porous straight. | The maximum stem diameter is 18.5 mm for porous-coated stems
10 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: What are cone sizes? | The tibial cone sizes available in the DePuy Orthogenesis Limb Preservation System are 21mm proximal and 14mm distal on the tibia. Small accommodates up to 14 mm stem. Medium accommodate up to 16 mm stem. Large accommodates up to 20 mm stem. X-Large accommodate up to 22 mm stem. | The document does not mention or describe cone sizes
11 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: What are the augment sizes on the tibia? | The augment sizes available on the tibia in the DePuy Orthogenesis Limb Preservation System are 5 mm, 10 mm, and 15 mm. | The document does not mention tibial augment sizes
12 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: What’s the minimum total distal femur resection? | The minimum total distal femur resection in the DePuy Orthogenesis Limb Preservation System is 70 mm. | The minimum total distal femur resection is 70 mm when using the XX-small distal femoral replacement component
13 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: Is there a non-nickel containing option? | No. | The document does not mention a non-nickel containing option
14 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: What is the tibial boss length and diameter? | Attune Revision RP tibia is 61mm long and 14mm wide. | The document does not specify the tibial boss length and diameter
15 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: What is the minimum reamer I have to use on the femur and tibia? | The minimum reamer that must be used on the femur is 10 mm, and for the tibia, it is also 10 mm in the DePuy Orthogenesis Limb Preservation System. | The minimum reamer size mentioned for both the femur and tibia is 10 mm
16 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: Is there a distal femur resection guide for measurement? | Yes, there is a distal femur resection guide available for measurement in the DePuy Orthogenesis Limb Preservation System. | The document does not describe a specific distal femur resection guide for measurement; it only mentions using preoperative planning, templating, and intraoperative marking techniques
17 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: What is the valgus angle of the distal femoral cut? | The valgus angle of the distal femoral cut in the DePuy Orthogenesis Limb Preservation System is 5 degrees. | The document does not specify a valgus angle for the distal femoral cut
18 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: If the knee does not fully extend, what are the steps we evaluate to change the construct? | To evaluate and change the construct if the knee does not fully extend in the DePuy Orthogenesis Limb Preservation System, the following steps should be taken: 1. **Assess the Alignment**: Check the alignment of the femoral and tibial components to ensure they are properly positioned. 2. **Evaluate Soft Tissue Tension**: Examine the soft tissue around the knee, including ligaments and tendons, to determine if there is excessive tension preventing full extension. 3. **Check for Bony Impingement**: Look for any bony impingement that may be limiting the range of motion. 4. **Adjust the Construct**: Based on the findings, consider adjusting the length of the components or the positioning of the resection to facilitate better extension. 5. **Reassess Range of Motion**: After making adjustments, reassess the knee's range of motion to ensure that full extension is achievable. These steps help in identifying the cause of limited extension and guide the necessary modifications to the construct. | If the knee does not fully extend, the document advises evaluating soft tissue releases or reducing leg length by adjusting the segmental trials in 5 mm increments
19 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: If the knee is too recurvatum in flexion and extension, what are the steps we evaluate to change the construct? What can we do with the bumper in this scenario? | If the knee is too recurvatum in flexion and extension in the DePuy Orthogenesis Limb Preservation System, the following steps should be evaluated to change the construct: 1. **Assess Component Positioning**: Check the positioning of the femoral and tibial components to ensure they are correctly aligned and not contributing to the recurvatum deformity. 2. **Evaluate Soft Tissue Balance**: Examine the soft tissue around the knee, including ligaments and tendons, to determine if there is an imbalance that may be causing the recurvatum. 3. **Check for Bony Impingement**: Look for any bony impingement that may be affecting the knee's range of motion and contributing to the recurvatum. 4. **Adjust the Construct**: Based on the assessment, consider adjusting the length or positioning of the components to correct the recurvatum. This may involve changing the angle of the cuts or the alignment of the components. 5. **Reassess Range of Motion**: After making adjustments, reassess the knee's range of motion to ensure that the recurvatum has been addressed. Regarding the bumper in this scenario, the bumper can be adjusted or replaced to provide better support and stability to the knee joint. It can help in managing the soft tissue tension and improving the overall alignment of the knee, thereby aiding in the correction of the recurvatum deformity. | The document does not explicitly describe steps for managing excessive recurvatum in flexion and extension, nor does it mention any bumper adjustments
20 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: If the patella is laterally dislocating, what can be done to modify the tibia? | If the patella is laterally dislocating in the DePuy Orthogenesis Limb Preservation System, the following modifications can be made to the tibia: 1. **Tibial Tuberosity Transfer**: Consider transferring the tibial tuberosity medially to realign the patellar tracking and reduce lateral dislocation. 2. **Adjusting the Tibial Cut**: Modify the angle of the tibial cut to improve the alignment of the patellar tracking. This may involve changing the orientation to create a more favorable angle for the patella. 3. **Using a Lateral Release**: If necessary, perform a lateral release of the retinaculum to relieve tension on the lateral structures that may be contributing to the dislocation. 4. **Evaluate Soft Tissue Balance**: Assess the soft tissue around the knee, including the iliotibial band and lateral retinaculum, and make adjustments as needed to improve the balance and support for the patella. 5. **Reassess Patellar Tracking**: After making these modifications, reassess the patellar tracking to ensure that the changes have effectively addressed the lateral dislocation. These steps aim to improve the alignment and stability of the patella, reducing the risk of dislocation. | The document does not specify modifications to the tibia to address lateral patellar dislocation
21 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: What are the choices for the tibial component in the setting of a distal femur fracture? How do I decide which is the best option? | In the setting of a distal femur fracture, the choices for the tibial component in the DePuy Orthogenesis Limb Preservation System include: 1. **Standard Tibial Component**: This is typically used for most cases and provides a stable foundation for the limb. 2. **Augmented Tibial Component**: This option is used when there is significant bone loss or deformity that requires additional support. 3. **Cemented Tibial Component**: This may be chosen for patients with poor bone quality or when additional fixation is needed. To decide which is the best option, consider the following factors: - **Bone Quality**: Assess the quality and quantity of the bone in the tibia. Poor bone quality may necessitate a cemented option or an augmented component. - **Extent of the Fracture**: Evaluate the severity and location of the distal femur fracture. If there is significant displacement or instability, an augmented component may provide better support. - **Patient Factors**: Consider the patient's age, activity level, and overall health. Younger, more active patients may benefit from a standard component, while older patients with lower activity levels may require a more stable option. - **Surgeon's Preference and Experience**: The surgeon's familiarity with the components and their outcomes can also influence the choice. By evaluating these factors, the most appropriate tibial component can be selected to optimize the surgical outcome. | The document states that in the setting of a distal femur fracture, the tibial component choices are the M.B.T. Revision Tibial Tray with the Orthogenesis LPS hinged tibial insert bearing or the S-ROM Tibial Tray with the S-ROM hinged tibial insert bearing. The choice depends on the tibial system being used: if using the M.B.T. tray, you must use the LPS hinged insert; if using the S-ROM tray, you must use the S-ROM hinged insert
22 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: If I can’t get diaphyseal fixation in the femur, what are the options? | Cement the implant. | The document states that if diaphyseal fixation in the femur is not achievable, cemented stem fixation is recommended
23 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: When should a distal femoral replacement be used or considered? | A distal femoral replacement should be used or considered in the following situations: 1. **Severe Bone Loss**: When there is significant bone loss in the distal femur due to trauma, tumor resection, or infection that cannot be adequately addressed with other fixation methods. 2. **Non-Union or Malunion**: In cases where there is a non-union or malunion of the distal femur that cannot be corrected with traditional fixation techniques. 3. **Complex Fractures**: For complex fractures of the distal femur that involve significant comminution or instability, where standard fixation methods may not provide sufficient stability. 4. **Revision Surgery**: In revision surgeries where previous implants have failed, and there is a need for a more stable and robust solution. 5. **Tumor Resection**: Following the resection of tumors in the distal femur, where reconstruction is necessary to restore limb function and stability. 6. **Infection**: In cases of chronic infection that have led to bone loss or instability, a distal femoral replacement may be necessary to manage the condition effectively. In these scenarios, a distal femoral replacement can provide a stable and functional solution, allowing for improved mobility and quality of life for the patient. | A distal femoral replacement should be used or considered for reconstruction after significant bone loss due to malignant bone tumors, aggressive benign tumors, infection, multiple failed joint replacements, massive trauma, or severe bone loss secondary to conditions like neoplasms or infections
24 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: What can I do with the distal femoral component if I can’t close the retinaculum? | Change your implant or shorten the construct. | The document states that if there is difficulty closing the soft tissues, such as the retinaculum, it may be necessary to shorten the extremity to reduce soft tissue tension and allow wound closure without undue stress
25 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: If I have patellar impingement on the mechanism, what are my choices to modify the construct? | If there is patellar impingement on the mechanism in the DePuy Orthogenesis Limb Preservation System, the following choices can be considered to modify the construct: 1. **Adjust the Position of the Patellar Component**: Reassess and potentially reposition the patellar component to ensure it is aligned properly and not causing impingement. 2. **Modify the Femoral Component**: If the femoral component is contributing to the impingement, consider adjusting its position or orientation to alleviate the pressure on the patella. 3. **Increase the Patellar Thickness**: If feasible, using a thicker patellar component may help in reducing the impingement by providing better clearance. 4. **Perform a Lateral Release**: If the lateral structures are tight, a lateral release may help reduce tension and allow for better patellar tracking, thereby alleviating impingement. 5. **Evaluate Soft Tissue Tension**: Assess the surrounding soft tissues for any excessive tension that may be contributing to the impingement and make necessary adjustments. 6. **Consider a Different Patellar Design**: If the current design is not suitable, consider using a different patellar design that may provide better clearance and reduce the risk of impingement. 7. **Reassess the Overall Alignment**: Ensure that the overall alignment of the limb is correct, as malalignment can contribute to patellar impingement. These modifications aim to alleviate the impingement and improve the function of the knee joint while maintaining the stability of the construct. | The document does not specifically address management options for patellar impingement on the mechanism
26 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: What are the bumper and poly options in my construct? | No bumper. Poly sizes are 12, 14, 16, 18, 20, 22, 24, 26, 28mm | The document specifies that the hinged tibial insert bearing (poly) options include extra-small and extra-extra small sizes to match the distal femoral replacement components. It does not mention bumper components or additional polyethylene options beyond these hinged inserts
27 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: Is this a central femoral hinge or posterior consular hinge? Which has better quad efficiency and lower dislocation rate? | Posterior condylar hinge. The central femoral hinge has better quad efficiency and lower dislocation rate. | The document does not specify whether the system uses a central femoral hinge or a posterior condylar hinge, nor does it compare quadriceps efficiency or dislocation rates between hinge types
28 | Based on the document titled Orthogenesis Limb Preservation System Surgical Techniques from DePuy, answer this question: Is there an all poly tibial baseplate option if I wanted to use it as a spacer? | No. | The document does not mention an all-poly tibial baseplate option for use as a spacer